## B1 Priorit'n Notes
B1. Asset Prioritization - Notes
Water Supply System: |  |  | Completed By: |  |  | Last Update: | 17th November 2012
Ref | Asset | Useful Life Left | PROBABILITY of Failure (*1) | Redun-dancy | IMPACT of Failure (*2) | PRIORITY (*3) | Actions and Comments
1.1 | 150 mm dia. PVC watermain
See Risk Management Matrices > *1 Low, Medium, High, Imminent |  |  |  | *2: Minor, Significant, Critical or Serious *3 Low, Moderate, High, Very high
Refer to "Assset inventory"
Refer to "Assset inventory"
See "Useful Life" table
Make your assessment of the probability of failure (See notes below)
Do you have a spare readily available? Do you have a stand-bye? (E.g: A standby pump)
See "Risk Matrix"
Make comments. For example: so that others can follow your thinking.
See "Risk Matrix"
Note: The impact of failure, of a pump for example, may be mitigated if you have a stand-bye, or spare. Use your judgement as well as reference to the "Risk Matrix" when setting priorities.

## B1 Prioritization
B1. Asset Prioritization
Water Supply System: |  |  | Completed By: |  |  | Last Update: | 17th November 2012
Ref | Asset | Useful Life Left | PROBABILITY of Failure (*1) | Redun-dancy | IMPACT of Failure (*2) | PRIORITY (*3) | Actions and Comments
See Risk Management Matrices > *1 Low, Medium, High, Imminent |  |  |  | *2: Minor, Significant, Critical or Serious *3 Low, Moderate, High, Very high

## Risk Matrix
Risk Matrix | [7 empty] | Last Update: | 17th November 2012
Hazards & Impacts
|  | CATEGORY OF HAZARD | [5 empty] | IMPACT
|  | 1. Existing threats to public health, safety or environment | [5 empty] | Critical or Serious
2. Potential public health, safety or environmental concern
3. Internal safety concern or public nuisance
|  | 4. Improved system operations & maintenance (O&M) efficiency | [5 empty] | Significant
|  | 5. Nice to have … | [5 empty] | Minor
|  | Risk Assessment Matrix | [7 empty] | Risk & Priority
|  |  |  | PROBABILITY | [5 empty] | Risk | Priority
|  |  |  | Low | Medium | High | Imminent
|  | IMPACT | Critical | high risk | high risk | very high risk | very high risk |  |  | very high risk | very high
|  |  | Serious | moderate risk | high risk | high risk | high risk |  |  | high risk | high
|  |  | Significant | minimal risk | moderate risk | moderate risk | high risk |  |  | moderate risk | moderate
|  |  | Minor | minimal risk | minimal risk | minimal risk | moderate risk |  |  | minimal risk | low
Your Notes
1
2
3
4
Step 1: Assess impacts
Step 2: Select probability and identify risk
Step 3: Using risk rating, establish priority

## B2 Renew Res. Notes
B2. $ for Renewal Reserve - Notes
Water Supply System: |  |  | Completed By: |  |  | Last Update: | 16 th November 2012
Note: For a more comprehensive assessment of Renewal Reserve requirements see the Replacement Reserve Fund worksheet
Ref | Asset (Highest to Lowest Priority) | PRIORITY | Activity Required | Years Until Needed | Estimated $ Cost | Annual Reserve Required | Comments
Total >
Refer to "Prioritization Worksheet" inventory"
Refer to "Prioritization Worksheet" inventory"
List in order of priority; highest to lowest. See your "Prioritization Worksheet"
Note the activity required. E.g. "Replacement of complete unit"; "Major servicing"
Note the years until the activity must be carried out.
Estimate the costs of the activity. Refer to suppliers, service providers, consultants as required.
Show the annual contribution you should make to the Renewal Reserve in order to pay for the activity when it is needed. (Divide $ Estimated Cost by number of Years until Needed.)
Calculate the total annual contribution you should make to your "Renewal Reserve"

## B2 Renew Res.
B2. $ for Renewal Reserve
Water Supply System: |  |  | Completed By: |  |  | Last Update: | 16 th November 2012
Note: For a more comprehensive assessment of Renewal Reserve requirements see the Replacement Reserve Fund worksheet
Ref | Asset (Highest to Lowest Priority) | PRIORITY | Activity Required | Years Until Needed | Estimated $ Cost | Annual Reserve Required | Comments
|  |  |  | 2 | 10 | 5
Total >

## B3 Renew Res. F. Notes
B3. Renewal Reserve Fund - Notes
Water Supply System: | [5 empty] | Completed By: | [5 empty] | Last Update: | 17th November 2012
| Asset Replacement Schedule |  |  | Inflation factor: |  | 2.1% |  | Current year |  | 2012
| Asset |  | Current Cost | Year of Renewal | Renewal Cost | Year of Renewal
[6 empty] | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Submersible pump |  | 850 | 2016 | 923.6808 | Year of Renewal 2016: 923.6808
| Alarm system |  | 1250 | 2012 | 1250 | Year of Renewal 2012: 1250
| Reservoir valving |  | 2300 | 2017 | 2551.8582 | Year of Renewal 2017: 2551.8582
| Pressure tank |  | 1600 | 2022 | 1969.5971 | Year of Renewal 2022: 1969.5971
| Pipework 50 mm. 26 meters |  | 450 | 2013 | 459.45 | Year of Renewal 2013: 459.45
| Replacement cost & year incurred > |  |  |  |  | 1250 | 459.45 | 0 | 0 | 0 | 2551.8582 | 0 | 0 | 0 | 0 | 1969.5971
| Renewal Reserve Fund |  |  | Interest Rate: |  | Year of Renewal 2012: 4.5%
| Opening balance |  |  |  |  | 1000 | 584.875 | 1000.3068 | 1947.1656 | 13206.7253 | 13670.562 | 11595.7106 | 12088.9658 | 12659.2274 | 13312.7011 | 14056.0092
| An. Contributions from Operations |  | 800 | 5% |  | 800 | 840 | 882 | 926.1 | 972.405 | 1021.0253 | 1072.0765 | 1125.6803 | 1181.9644 | 1241.0626 | 1303.1157
| Deductions (from above) |  |  |  |  | -1250 | -459.45 | 0 | 0 | 0 | -2551.8582 | 0 | 0 | 0 | 0 | -1969.5971
| Proceeds of Loans |  |  |  |  | Year of Renewal 2015: 10000
| Repayment of Loans | [8 empty] | -1100 | -1100 | -1100 | -1100 | -1100 | -1100 | -1100
| Closing Balance before interest |  |  |  |  | 550 | 965.425 | 1882.3068 | 12873.2656 | 13079.1303 | 11039.729 | 11567.7871 | 12114.6461 | 12741.1917 | 13453.7637 | 12289.5277
| Interest Earned |  |  |  |  | 34.875 | 34.8818 | 64.8588 | 333.4597 | 591.4317 | 555.9815 | 521.1787 | 544.5813 | 571.5094 | 602.2455 | 592.7746
|  | Closing balance |  |  |  | 584.875 | 1000.3068 | 1947.1656 | 13206.7253 | 13670.562 | 11595.7106 | 12088.9658 | 12659.2274 | 13312.7011 | 14056.0092 | 12882.3023
www.WaterBC.ca
From "$ Required Reserves" worksheet
From "$ Required Reserves" worksheet
From "$ Required Reserves" worksheet
Calculated by Excel
Enter this figure from Column F
Calculated by Excel
Enter
Enter
Enter
Enter
Use progressive progressive increase in Annual Contribution where required.
Adjust Contributions etc to keep line this positive
Obtain loans as required
Enter amount of loan repayment

## B3 Renew Res.F.
B3. Renewal Reserve Fund
Water Supply System: | [5 empty] | Completed By: | [5 empty] | Last Update: | 17th November 2012
| Asset Replacement Schedule |  |  | Inflation factor: |  | 2.1% |  | Current year |  | 2012
| Asset |  | Current Cost | Year of Renewal | Renewal Cost | Year of Renewal
[6 empty] | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Mill Creek pumping station |  | 10000 | 2015 | 10643.3226 | Year of Renewal 2015: 10643.3226
0
0
0
0
| Replacement cost & year incurred > |  |  |  |  | 0 | 0 | 0 | 10643.3226 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Renewal Reserve Fund |  |  | Interest Rate: |  | Year of Renewal 2012: 2.5%
| Opening balance |  |  |  |  | 1000 | 1835 | 2731.375 | 3692.6844 | 4071.3136 | 4043.9065 | 4065.0422 | 4138.3957 | 4267.857 | 4457.5423 | 4711.8067
| An. Contributions from Operations |  | 800 | 5% |  | 800 | 840 | 882 | 926.1 | 972.405 | 1021.0253 | 1072.0765 | 1125.6803 | 1181.9644 | 1241.0626 | 1303.1157
| Deductions (from above) |  |  |  |  | 0 | 0 | 0 | -10643.3226 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Proceeds of Loans |  |  |  |  | Year of Renewal 2015: 10000
| Repayment of Loans | [8 empty] | -1100 | -1100 | -1100 | -1100 | -1100 | -1100 | -1100
| Closing Balance before interest |  |  |  |  | 1800 | 2675 | 3613.375 | 3975.4618 | 3943.7186 | 3964.9317 | 4037.1187 | 4164.0761 | 4349.8213 | 4598.6049 | 4914.9224
| Interest Earned |  |  |  |  | 35 | 56.375 | 79.3094 | 95.8518 | 100.1879 | 100.1105 | 101.277 | 103.7809 | 107.721 | 113.2018 | 120.3341
|  | Closing balance |  |  |  | 1835 | 2731.375 | 3692.6844 | 4071.3136 | 4043.9065 | 4065.0422 | 4138.3957 | 4267.857 | 4457.5423 | 4711.8067 | 5035.2565

## Service Life - Assets
Table YY: Service Life for Water System Assets (*1)
Last update: 21 Nov 2012
*1: Source: BC MOE Water Branch: Depreciation Rates for Water Systems
Prescribed
Service Life
NARUC |  |  | SL
Acct No. |  | Account Title | [Years]
A |  | Source of Supply Plant
| 304 | Structures and Improvements
| 304.1 | Wood Frame | 30
| 304.2 | Steel | 40
| 304.3 | Cement Block | 40
| 304.4 | Reinforced Concrete or Brick | 50
| 304.5 | Miscellaneous | 25
| 305 | Collecting and Impounding Reservoirs
| 305.1 | Wood Structures | 35
| 305.2 | Earth Fill Structures | 60
| 305.3 | Concrete Structures | 75
| 306 | Lake, River and Other Intakes
| 306.1 | Wood Structures | 35
| 306.2 | Concrete Structures | 60
| 307 | Wells and Springs | 40
| 309 | Supply Mains
| 309.1 | PVC AWWA C900 | 75
| 309.2 | HDPE AWWA C906 | 75
| 309.3 | Ductile/Cast Iron | 60
| 309.4 | Steel, Cement Lined | 50
| 309.5 | Concrete | 50
| 309.6 | Sub-Marine Mains | 20
| 339 | Other Misc. Water Source Plant | 25
B |  | Pumping Plant
| 304 | Structures and Improvements
| 304.1 | Wood Frame | 30
| 304.2 | Steel | 40
| 304.3 | Cement Block | 40
| 304.4 | Reinforced Concrete or Brick | 50
| 304.5 | Miscellaneous | 25
| 310 | Power Generation Equipment | 25
| 311 | Pumping Equipment
| 311.1 | Electric Pumping Equipment | 25
| 311.2 | Diesel Pumping Equipment | 25
| 311.3 | Other Pumping Equipment | 25
| 339 | Other Miscellaneous Pumping Plant | 25
C |  | Water Treatment Plant
| 304 | Structures and Improvements
| 304.1 | Wood Frame | 30
| 304.2 | Steel | 40
| 304.3 | Cement Block | 40
| 304.4 | Reinforced Concrete or Brick | 50
| 304.5 | Miscellaneous | 25
| 320 | Treatment Equipment
| 320.1 | Sand & Other Media Filtration Equipment | 30
| 320.2 | Membrane Filtration Equipment | 15
| 320.3 | Chlorination | 15
| 320.4 | Other Water Treatment Equipment | 20
| 339 | Other Miscellaneous Treatment Plant | 25
D |  | Transm. and Distribution Plant
| 304 | Structures and Improvements
| 304.1 | Wood Frame | 30
| 304.2 | Steel | 40
| 304.3 | Cement Block | 40
| 304.4 | Reinforced Concrete or Brick | 50
| 304.5 | Miscellaneous | 25
| 330 | Distribution Reservoirs
| 330.1 | Concrete (underground) | 60
| 330.2 | Steel (above ground) | 50
D |  | Transm. and Distr. Plant (con't)
| 331 | Transmission and Distribution Mains
| 331.1 | PVC AWWA C900 | 75
| 331.2 | HDPE AWWA C906 | 75
| 331.3 | Ductile/Cast Iron | 60
| 331.4 | Steel, Cement Lined | 50
| 331.5 | Concrete | 50
| 331.6 | Sub-Marine Mains | 20
| 333 | Services | 50
| 334 | Meters and Meter Installations | 25
| 335 | Hydrants / Standpipes | 50
| 339 | Other Transm. and Distribution Plant | 25
E |  | General Plant
| 304 | Structures and Improvements
| 304.1 | Wood Frame | 30
| 304.2 | Steel | 40
| 304.3 | Cement Block | 40
| 304.4 | Reinforced Concrete or Brick | 50
| 304.5 | Miscellaneous | 25
| 340 | Office Furniture and Equipment | 20
| 349 | Computer Equipment | 5
| 341 | Transportation Equipment | 7
| 342 | Stores Equipment | 20
| 343 | Tools, Shop and Garage Equipment | 15
| 344 | Laboratory Equipment | 15
| 345 | Power Operated Equipment | 15
| 346 | Communication Equipment | 10
| 346.1 | Communication Equipment - SCADA | 10
| 346.2 | Other Communication Equipment | 10
| 347 | Miscellaneous Equipment | 20
F |  | Other Tangible Plant
| 348 | Other Tangible Plant5 | 50
G |  | Intangible Plant
| 301 | Organization | 100
| 302 | Franchises and Consents | 100
Note: This table does not contain all possible assets. If you have an asset not on this table, please make your best estimate of the Service Life and continue with the process. Don't allow this to hold you up. Please let the Pilot Project coordinator know what is missing.